## Inventory
ItemCode | ItemName | Category | Quantity | MinStock | Location
PT001 | Rosemount 3051 Pressure Transmitter | Pressure Transmitter | 97 | 10 | Rack B12
PT002 | Yokogawa EJA110E | Pressure Transmitter | 15 | 10 | Rack B13
TT001 | Pt100 RTD Sensor | Temperature Sensor | 21 | 15 | Rack C04
TT002 | Type K Thermocouple | Temperature Sensor | 6 | 10 | Rack C05
FT001 | Rosemount 8705 Flow Meter | Flow Meter | 4 | 5 | Rack D01
LT001 | Magnetrol Level Transmitter | Level Transmitter | 7 | 8 | Rack D02
PS001 | Danfoss Pressure Switch | Pressure Switch | 3 | 5 | Rack A01
TS001 | Temperature Switch TSX-200 | Temperature Switch | 7 | 5 | Rack A02
CV001 | Fisher Control Valve Positioner | Control Valve | 2 | 4 | Rack E10
AI001 | Analog Input Module | PLC Module | 18 | 10 | Rack F01
AO001 | Analog Output Module | PLC Module | 11 | 10 | Rack F02
DI001 | Digital Input Module | PLC Module | 20 | 10 | Rack F03
DO001 | Digital Output Module | PLC Module | 9 | 10 | Rack F04
RT001 | Instrumentation Relay | Relay | 30 | 15 | Rack G01
JB001 | Junction Box 12-Way | Junction Box | 14 | 10 | Rack H02

## Instructions for Seniors
Step | Instructions for Updating Inventory
1 | Open this file: plant_inventory.xlsx
2 | Go to the INVENTORY sheet (tab at the bottom)
3 | Update the Quantity column with current stock values from SAP
4 | Update MinStock column if minimum threshold has changed
5 | Update Location column if items have been moved to different racks
6 | To ADD a new item: add a new row at the bottom with all 6 columns filled
7 | To REMOVE an item: delete the entire row
8 | DO NOT change column headers (ItemCode, ItemName, Category, Quantity, MinStock, Location)
9 | Save the file (Ctrl+S) - keep it in XLSX format when prompted
10 | The inventory assistant program will automatically use the updated data

## Column Guide
Column Name | What to Enter | Example | Can be blank?
ItemCode | Unique code for each instrument (e.g. PT001) | PT001 | NO
ItemName | Full name of the instrument | Rosemount 3051 Pressure Transmitter | NO
Category | Type/category of instrument | Pressure Transmitter | NO
Quantity | Current number of units in store | 8 | NO
MinStock | Minimum units that must always be in store | 10 | NO
Location | Rack/shelf location in the store | Rack B12 | NO